IP20

TECHNICAL IMAGE

DESIGN BY

Emilux Lighting Limited

DESCRIPTION

- Multi power for commercial and architectural lighting

- Average lighting with Silicone material

- Average performance within different dimension

- External dimming system: Triac/ 0-10V/ Dali/Bluetooth/ Tuya/ Zigbee

| FEATURES Name: Colour: Installation: Application: |  | Track tube light Matt black Magnetic Indoor |
| --- | --- | --- |
| CCT: Ra: LED Chip: Beam Angle: Lumen: | 3000K/4000K/5000k ≧90 Sanan 360° 620(12w)/ 1000(20w)lm |  |
| AVAILABLE MODELS |  |  |
| Item | Power(w) | Size(mm) |
| EM-EH-GJ-1000 | 12 | ø22*1000 |
| EM-EH-GJ-2000 | 20 | ø22*2000 |