Product Date sheet

**Dot** **series**

**IP20**

**TECHNICAL** **DRAWINGS**



Product Code: Linear series

**DESIGN** **BY**

Emilux architecture

**DESCRIPTION**

Opal lighting for general use and outlining

Average lighting on opal cover

Average performance within differernt length

External dimming interface withTriac,0/1-10V,Dali

|  |  |
| --- | --- |
| **FEATURES**Article Code:Colour:Installation:Environment:**GENERAL** **SPECIFICATION** | Dot seriesBlack/WhiteMagneticIndoor |
| CCT:CRI:LED:DIM: | 2700K/3000K/4000KRA90OSRAMTriac,0/1-10V,Dali |
| **AVAILABLE** **MODELS** |
| Item Power(w) Size(mm) |
| EM-H20G3-12W 12W L220\*W22\*H45mm |
| EM-H20G3-18W | 18W | L328\*W22\*H45mm |
| EM-H20G3-24W | 24W | L435\*W22\*H45mm |
| EM-H20G3-30W | 30W | L543\*W22\*H45mm |
| **PACKAGE** **INFORMATION** |
| Item Qty/Ctn(pcs) N.W/Ctn(kgs) G.W/Ctn(kgs) L\*W\*H(cm) |
| EM-H20G3-12W 20 5.7 7.5 44.5x22.24 |
| EM-H20G3-18W | 20 | 9.8 | 12.2 | 44.5x38x28 |
| EM-H20G3-24W | 10 | 9.1 | 11.7 | 70x18.5x35 |
| EM-H20G3-30W | 10 | 14 | 16.3 | 101x17.5x36 |
| **LIGHT** **DISTRIBUTION** |

